## Summary
CONSTRUCTION TAKEOFF REPORT
1372 Pine Acres Rd · Eads, TN 38028
Owner | Angela Cage
Plan Number | 8394-2907-RW (Revision Three)
Approval Date | 01/20/2026
Application No. | RES-NEW-26-000012
Total Heated | 9,903 SF
Total Unheated | 3,667 SF
Footprint | 139'-4" × 126'-0"
Garage | 4-Car + Workshop
Ceilings | 12' Both Floors
Code | 2021 IRC Local
# | Trade | Items | Cost Low | Cost High | Midpoint
01 | Concrete & Foundation | 8 | 35000 | 52000 | 43500
02 | Brick Masonry | 10 | 280000 | 360000 | 320000
03 | Structural Framing | 10 | 120000 | 168000 | 144000
04 | Roofing | 10 | 108000 | 148000 | 128000
05 | Windows & Glazing | 10 | 72000 | 110000 | 91000
06 | Doors & Hardware | 10 | 40000 | 65000 | 52500
07 | Drywall & GYP Board | 8 | 90000 | 130000 | 110000
08 | Insulation | 5 | 45000 | 65000 | 55000
09 | Electrical | 11 | 82000 | 128000 | 105000
10 | Plumbing | 12 | 58000 | 88000 | 73000
11 | HVAC | 9 | 68000 | 102000 | 85000
12 | Flooring | 7 | 108000 | 162000 | 135000
13 | Cabinets & Millwork | 11 | 62000 | 98000 | 80000
| TOTAL |  | 1168000 | 1676000 | 1422000

## Concrete & Foundation
01 — Concrete & Foundation
~150 CY slab · 1,075 CMU blocks · 10,862 SF slab area
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Slab on grade – main house + office | ~98 CY | CY | 145 | 185 | 14210 | 18130 | 4" / 3500 PSI + 10% waste
Slab on grade – garage & storage | ~19 CY | CY | 145 | 185 | 2755 | 3515 | 4" / 3500 PSI
Slab on grade – porches | ~24 CY | CY | 155 | 200 | 3720 | 4800 | 4" reinforced, turn-down to foam sill
Slab on grade – breezeway | ~6 CY | CY | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 4" / 3500 PSI
Column footings (24"×12"×12") | ~6 CY | CY | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~50 locations throughout
CMU footing walls (16×8×8) | ~1,075 blocks | Block | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~650 LF perimeter, 2 courses
12-mil poly vapor barrier | 11,500 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Full coverage + 6% overlap
#4 Rebar | ~28,600 LF / ~23,100 LBS | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 18" OC each way + 10% waste (laps, bends, cuts)

## Brick Masonry
02 — Brick Masonry
~110,650 bricks · 14,530 SF net wall · ~1,100 bags mortar
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Standard modular brick – field | ~110,650 units | Brick | 0.85 | 1.2 | 94052.5 | 132780 | 14,530 SF net + 10% waste
Mortar (Type S) | ~1,100 bags (60-lb) | Bag | 8.5 | 12 | 9350 | 13200 | ~10 bags per 1,000 bricks
Masonry sand | ~22 tons | Ton | 35 | 55 | 770 | 1210 | 200 lbs per 1,000 bricks
Corrugated brick ties | ~4,350 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 1 per 2.67 SF of wall
Wall flashing (all openings + base) | ~900 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Window/door lintels + grade
Weep holes | ~180 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Every 24" along base flashing
Steel angle lintels | ~60 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | All window and door openings
Masonry waterproof sealer | 14,530 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Full exterior application
Soldier course (window heads) | ~400 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 3 bricks per LF
Rowlock course (window sills) | ~350 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 3.75 bricks per LF

## Structural Framing
03 — Structural Framing
~2,100 studs · ~5,400 LF 2×10 CJ · 300 LF LVL · 612 sheathing sheets
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
2×10 CJ @ 16" OC (2nd floor) | ~5,940 LF / ~9,900 BF | BF | 1.1 | 1.55 | 10890 | 15345 | Includes blocking, rim, headers + 10% waste
LVL beams – (2) 1¾"×16" LVL 1.9E | ~315 LF (all doubled) | LF | 18 | 28 | 5670 | 8820 | All large-span openings + 5% waste
Wall studs (14' length) | ~2,415 ea | EA | 8.5 | 13 | 20527.5 | 31395 | Both floors; 16" OC + 15% waste (trimmers, kings, cripples)
Plates (bottom + double top) | ~7,260 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 3 plates × 2,200 LF + 10% waste
Exterior wall sheathing (WSP) | ~500 sheets (4×8) | Sheet | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per IRC Table R602.3(1)
2nd floor deck (3/4" T&G OSB) | ~112 sheets | Sheet | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 3,216 SF + 10% waste
STHD14 holddowns | Per seismic plan | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | At all shear wall ends
SSW24×9 shear walls | 4 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Garage elevation, 1st floor
SSW18×9 shear walls | 2 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Garage elevation, 1st floor
Simpson coil strap / LTP4 / BP½-3 | Per A13 detail | LOT | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Full seismic hardware package

## Roofing
04 — Roofing
~148 total squares · 6:12 pitch · shingles + standing seam
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Architectural shingles (30-yr min) | ~430 bundles (~143 sq) | SQ | 350 | 500 | 50050 | 71500 | 6:12 pitch factor 1.118
Standing seam metal panels | ~18 squares | SQ | 850 | 1200 | 15300 | 21600 | Rear elevation per A10
OSB roof deck (7/16") | ~415 sheets (4×8) | Sheet | 22 | 35 | 9130 | 14525 | 14,440 SF total roof surface
Synthetic underlayment | ~37 rolls | Roll | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 1 roll per 4 squares
Ice & water shield | ~20 rolls (65 SF ea) | Roll | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Bottom 3' eaves + all valleys
Drip edge (10' pieces) | ~170 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~1,700 LF total eaves + rake
Ridge/hip cap shingles | ~30 bundles | Bundle | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~600 LF ridge + hip
Roofing nails | ~530 LBS | LB | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~3.5 lb per square
Gutters & downspouts | ~800 LF gutter | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Full perimeter K-style
Step & counter flashing at brick | ~400 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | All roof-to-wall intersections

## Windows & Glazing
05 — Windows & Glazing
60 units across 16 types · 1,570 SF glazing · casement + fixed
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Type A – Twin casement + 2' transom | 4 units @ 6'×9' | EA | 2200 | 3400 | 8800 | 13600 | 216 SF glazing – bedroom wings
Type E – Casement + 2' transom | 6 units @ 3'×9' | EA | 1400 | 2200 | 8400 | 13200 | 162 SF
Type F – Triple casement + 2' transom | 3 units @ 9'×9' | EA | 3500 | 5500 | 10500 | 16500 | 243 SF – statement windows
Type J – Fixed | 12 units @ 2'×4' | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 96 SF – accent / clerestory
Type L – Casement + 2' transom | 8 units @ 3'×8' | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 192 SF
Type M – Twin casement + 2' transom | 5 units @ 6'×8' | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 240 SF
Types B,C,D,H,K,N,O,P,Q,R (combined) | 22 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 421 SF glazing
Tempered glass upgrade | All baths + hazard zones | LOT | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | IRC R308.4 required
Window flashing tape | ~900 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~15 LF per window
Sill pan flashing | 60 locations | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | One per window unit

## Doors & Hardware
06 — Doors & Hardware
52 doors · 3 garage doors · 4 shower doors · 2 elevator doors (by others)
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Double exterior doors (72"×96") | 6 units | EA | 1800 | 3200 | 10800 | 19200 | #1, #14, #42, #48, #52 + #41
Single exterior doors (36"×96") | 4 units | EA | 650 | 1100 | 2600 | 4400 | #13, #25, #26 + 1 additional
Glass sliding doors (192"×108") | 1 unit – #15 | EA | 4500 | 7500 | 4500 | 7500 | 16'×9' – largest opening
20-min rated solid core + closer | 1 unit – #18 | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Garage entry per IRC R302.5.1
Glass shower doors (30"×84") | 4 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | #6, #7, #31, #38
Double garage doors (16'×7') | 2 units – #20, #21 | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | With openers
Single garage door (8'×7') | 1 unit – #19 | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | With opener
Barn door set – (2) 3'×8' HC | 1 set – #12 | SET | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Track hardware included
Interior hollow core wood | ~29 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Various 24"–36" widths
Door hardware (knobs, deadbolts) | Full set | LOT | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~145 hinges, ~45 locksets, stops

## Drywall & GYP Board
07 — Drywall & GYP Board
~1,786 total sheets · 5/8" Type X garage · ~50,000 SF covered
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
½" standard GYP – walls | ~1,321 sheets | Sheet | 14 | 20 | 18494 | 26420 | 38,430 SF net + 10% waste
½" standard GYP – ceilings | ~365 sheets | Sheet | 14 | 20 | 5110 | 7300 | 10,603 SF non-garage ceilings
5/8" Type X – garage ceiling | ~89 sheets | Sheet | 18 | 26 | 1602 | 2314 | 1,416 SF garage ceiling – IRC req.
5/8" Type X – garage side wall | ~11 sheets | Sheet | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Garage/residence interface per R302.6
Joint compound (ready-mix) | ~120 buckets (5-gal) | Bucket | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 3-coat finish system
Paper joint tape | ~6,000 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | All seams throughout
Metal corner bead | ~1,500 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | All outside corners
GYP screws (1-5/8") | ~55 LBS | LB | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Walls and ceilings

## Insulation
08 — Insulation
~14,530 SF wall cavity · ~9,900 SF ceiling · R-13 to R-49
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Exterior wall batt – R-13 (2×4) or R-21 (2×6) | ~15,985 SF | SF | 0.85 | 1.35 | 13587.25 | 21579.75 | TN Climate Zone 4A + 10% waste
Attic blown-in – R-38 to R-49 | ~10,890 SF | SF | 1.5 | 2.25 | 16335 | 24502.5 | Top floor + 10% coverage factor
2nd floor deck batt – R-19 | ~3,540 SF | SF | 0.75 | 1.15 | 2655 | 4071 | In 2×10 joist bays + 10% waste
Garage ceiling insulation – R-30 | ~1,560 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Above garage below living space + 10% waste
Rigid XPS perimeter – 2" R-10 | ~60 sheets (4×8) | Sheet | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Slab edge, 2' deep + 10% waste

## Electrical
09 — Electrical
~400A service · ~90 fixtures · 6 exhaust fans · 3 garage openers
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Main electrical service | 400A / 240V | EA | 3500 | 5500 | 3500 | 5500 | 2×200A meter base recommended
Sub-panels | 3–4 units @ 100–200A | EA | 1200 | 2000 | 4800 | 8000 | Garage, 2nd floor, office/sewing wing
Recessed can lights | ~80–100 ea | EA | 85 | 145 | 7650 | 13050 | Per plans A6 & A7
Ceiling fans w/ light | ~12 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Bedrooms, living, porches
Wall-mounted lights | ~20 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Baths, halls, exterior entries
Standard 110V duplex outlets | ~150–180 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | NEC spacing requirements
GFI outlets | ~25 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Kitchen, baths, garage, exterior
220V outlets | ~8 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Dryer, range, workshop, EV ready
Smoke detectors | ~15 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per IRC R314 – all bedrooms + halls
CO detectors | ~6 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per IRC R315 – all floors + garage adj.
Garage door openers | 3 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | One per bay – shown on A6

## Plumbing
10 — Plumbing
6 toilets · ~11 sinks · 6 shower/tub units · 2 water heaters
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Toilets | 6 ea | EA | 350 | 650 | 2100 | 3900 | 4 full baths + 2 half baths
Vanity/lavatory sinks | ~11 ea | EA | 250 | 500 | 2750 | 5500 | All baths, kitchen, laundry, workshop
Shower/tub units | 6 total | EA | 800 | 1500 | 4800 | 9000 | Primary, bath #2, #3, #4 + 2 walk-in
Water heaters | ~2 units | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Tankless rec.; strapping detail on A11
Garbage disposal | 1 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Kitchen – noted on A11 elevation
Dishwasher connection | 1 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Kitchen
Washer box + dryer connection | 1 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Laundry room
Supply lines – 3/4" main trunk | ~440 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | From meter to all zones + 10% waste
Supply lines – 1/2" branch | ~880 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | To all individual fixtures + 10% waste
DWV drain lines (3"–4") | ~550 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | To main stack and sewer + 10% waste
DWV vent lines (1.5"–2") | ~330 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | To roof penetrations + 10% waste
Hose bibs (exterior) | ~6 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Multiple exterior locations

## HVAC
11 — HVAC
~15–20 tons cooling · 4–6 zones · 9,903 SF at 12' ceilings
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Split HVAC systems (4–6 ton ea) | 3–5 units | EA | 6500 | 10000 | 26000 | 40000 | Multi-zone; Manual J required
Air handlers | 3–5 units | EA | 2500 | 4000 | 10000 | 16000 | One per zone, attic/utility closet
Supply ductwork | ~3,300 LF est. | LF | 6 | 10 | 19800 | 33000 | Flex + sheet metal trunk + 10% waste
Return air ductwork | ~1,320 LF est. | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Central returns per zone + 10% waste
Supply registers | ~80–100 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | ~1 per 100 SF heated
Return air grilles | ~20–25 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per zone
Bath exhaust fans (50 CFM min) | 6 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | All baths per 2021 IRC required
Kitchen range hood | 1 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Exterior exhaust – IRC M1503
Smart thermostats | 4–6 ea | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | One per HVAC zone

## Flooring
12 — Flooring
~10,400 SF total · tile, hardwood, LVP, carpet + garage epoxy
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Ceramic/porcelain tile | ~2,420 SF | SF | 12 | 20 | 29040 | 48400 | Baths, kitchen, foyer, laundry + 10%
Hardwood/engineered hardwood | ~3,300 SF | SF | 10 | 16 | 33000 | 52800 | Living, dining, halls + 10%
LVP (luxury vinyl plank) | ~1,650 SF | SF | 6 | 10 | 9900 | 16500 | Office, secondary rooms + 10%
Carpet | ~2,200 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Bedrooms, theater, game rm + 10%
Garage floor – epoxy/sealed concrete | 1,416 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Garage + workshop
Tile substrate (Schluter/Hardiebacker) | ~2,420 SF | SF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Under all tile areas
Subfloor prep / self-leveler | Full coverage | LOT | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 2nd floor deck + slab prep as needed

## Cabinets & Millwork
13 — Cabinets & Millwork
~60 LF kitchen · 7 vanities · full pantry · stair railing · millwork
Item | Qty | Unit | Mat'l $/Unit Lo | Mat'l $/Unit Hi | Mat'l Ext Lo | Mat'l Ext Hi | Notes
Kitchen base cabinets | ~30 LF | LF | 250 | 450 | 7500 | 13500 | Per interior elevation A11
Kitchen upper cabinets | ~25 LF | LF | 200 | 400 | 5000 | 10000 | Per interior elevation A11
Kitchen island | ~8'×4' base | EA | 3500 | 6000 | 3500 | 6000 | All sides enclosed
Bathroom vanities | 7 locations | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Primary his/hers, bath #2/#3/#4, ×2 half
Pantry built-in shelving | ~60 SF room | LOT | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Floor-to-ceiling per A11
Laundry upper/lower cabinets | ~10 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per elevation A11
Interior door casing | ~2,860 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 52 doors × 25 LF + 10% waste (miters, cuts)
Baseboard (all rooms) | ~4,840 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Both floors; all interior rooms + 10% waste
Wrought iron stair railing | ~46 LF | LF | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Foyer circular stair per A12
WIC closet systems | 3 locations | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Primary, bd #4, 2nd floor WIC
Fireplace surround (hearth room) | 1 unit | EA | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | 🔒 Upgrade | Per A4 – stone or millwork TBD